## Submission Sheet
BIOGRIP Sample Worksheet - Ion analysis by Ion Chromatography
Customer Information
Last Name: | Umunezero |  | Instructions: |  |  |  |  | Ship samples with Excel file to:
First Name: | Annah Aphia |  | Information in RED is required |  |  |  |  | BIOGRIP water and soil node
Email: | 3764862@myuwc.ac.za |  | Complete and Save As "IC samplelist_NameSurname_YYMMDD.xls" |  |  |  |  | Forestry Department, | Bosman Street
Telephone: | 0653214676 |  | Caution: "Sample ID" must be unique, no duplicates |  |  |  |  | Stellenbosch University
Department: | Earth sciences | [6 empty] | 7600, Stellenbosch South Africa
University/Industry | UWC | [6 empty] | Email: jcolling@sun.ac.za
CAFid | CAF-22-50663
Submission Date: | 2022-08-25 | (e.g. YYYY-MM-DD)
Sample information
Please indicate type of analysis with 'Y' for each sample
Sample # | Sample Identity | Sample type | Cations of interest | Anions of interest | Conductivity (EC) µS/cm | pH | Comments
Eg | SAL1 |  | Li, Na, NH4, K, Ca, Mg | Br, Cl, NO2, NO3, PO4, SO4 | 400 µS/cm |  | Unfiltered
1 | AW | SW | Na, K, Ca, Mg | SO4, Cl, HCO3 | 20,5 | 9,2 | Unfiltered
2 | WC | SW | Na, K, Ca, Mg | SO4, Cl, HCO3 | 20,2 | 5,66 | Unfiltered
3 | AD | SW | Na, K, Ca, Mg | SO4, Cl, HCO3 | 28,6 | 4,99 | Unfiltered
4 | AWD | SW | Na, K, Ca, Mg | SO4, Cl, HCO3 | 22,6 | 5,28 | Unfiltered
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156

## Summary of results
Sample identity | Sample type | Cl (mg/L) | SO4 (mg/L) | HCO3- (mg/L)* | Na (mg/L) | Mg (mg/L) | K (mg/L) | Ca (mg/L)
AW | SW | 4.418 | Result is below the lowest calibration standard | 3.66 | 2.8 | 0.29 | 0.27 | 0.18
WC | SW | 4.439 | Result is below the lowest calibration standard | 3.66 | 2.83 | 0.29 | 0.16 | 0.16
AD | SW | 4.914 | 1.017 | 3.66 | 3.05 | 0.37 | 0.23 | 0.43
AWD | SW | 5.063 | 1.089 | 3.66 | 3.14 | 0.38 | 0.23 | 0.51
Limit of quantification (LOQ) in mg/L |  | 0.75 | 0.75 |  | 0.1 | 0.1 | 0.1 | 0.03
Comments
When a result is indicated as 'result is below the lowest calibration standard, this means that the concentration of the ion was less than the LOQ value
This analysis was performed at the BIOGRIP water and soil and ICP-MS CAF nodes