## Sample list
BIOGRIP Sample Worksheet - Ion analysis by Ion Chromatography
Customer Information
Last Name: | Umunezero |  | Instructions: |  |  |  | Ship samples with Excel file to:
First Name: | Annah Aphia |  | Information in RED is required |  |  |  | BIOGRIP water and soil node
Email: | 3764862@myuwc.ac.za |  | Complete and Save As "IC samplelist_NameSurname_YYMMDD.xls" |  |  |  | Forestry Department, Bosman street
Telephone: | 653214676 |  | Caution: "Sample ID" must be unique, no duplicates |  |  |  | Stellenbosch University
Department: | Earth sciences | [5 empty] | 7600, Stellenbosch South Africa
University/Industry | UWC | [5 empty] | Email: jcolling@sun.ac.za
CAFid | CAF-22-50663
Submission Date: | 2022-09-14 | (e.g. YYYY-MM-DD)
Sample information
Please indicate type of analysis with 'Y' for each sample
Sample # | Sample Identity | Sample type | Cations of interest | Anions of interest | Conductivity (EC) µS/cm | pH | Comments
Eg | SAL1 |  | Li, Na, NH4, K, Ca, Mg | Br, Cl, NO2, NO3, PO4, SO4 | 400 µS/cm |  | Unfiltered
1 | BG00043 | Groundwater | Na, K, Ca, Mg | SO4, Cl, HCO3 | 73.3 | 7.29 | Unfiltered
2 | BG00158 (ST) | Groundwater | Na, K, Ca, Mg | SO4, Cl, HCO3 | 35.3 | 6.3 | Unfiltered
3 | BG00158 (CL) | Groundwater | Na, K, Ca, Mg | SO4, Cl, HCO3 | 35.2 | 4.35 | Unfiltered
4 | BG00157 (ST) | Groundwater | Na, K, Ca, Mg | SO4, Cl, HCO3 | 33.4 | 4.53 | Unfiltered
5 | BG00157 (CL) | Groundwater | Na, K, Ca, Mg | SO4, Cl, HCO3 | 33.8 | 4.43 | Unfiltered
6 | BG00156 (ST) | Groundwater | Na, K, Ca, Mg | SO4, Cl, HCO3 | 29.3 | 4.61 | Unfiltered
7 | Interflow 1 (IN 1) | Interflow | Na, K, Ca, Mg | SO4, Cl, HCO3 | 31.8 | 6.03 | Unfiltered
8 | Interflow 2 (IN 2) | Interflow | Na, K, Ca, Mg | SO4, Cl, HCO3 | 30.4 | 5.79 | Unfiltered
9 | Interflow 3 (IN 3) | Interflow | Na, K, Ca, Mg | SO4, Cl, HCO3 | 30.9 | 4.75 | Unfiltered
10 | Raingauge | Rain water | Na, K, Ca, Mg | SO4, Cl, HCO3 |  |  | Unfiltered. The rain gauge had collected very little water so we could not use a multi-probe for EC and pH. Please analyze these in the lab for this sample.
11 | Top Weir (TW) | Surface water | Na, K, Ca, Mg | SO4, Cl, HCO3 | 22.5 | 4.79 | Unfiltered
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156

## IC results
Sample identity | Sample type | EC (µS/cm) | Cl (mg/L) | SO4 (mg/L) | Na (mg/L) | K (mg/L) | Mg (mg/L) | Ca (mg/L)
Raingauge | Rain water | 57.24 | 3.301 | 0.998 | 1.524 | 0.07 | 0.805 | 2.241
Top Weir (TW) | Surface water | 22.5 | 5.238 | 0.81 | 2.262 | n.d. | 0.56 | 2.409
BG00043 | Ground water | 73.3 | 14.759 | 1.058 | 7.251 | 0.187 | 0.922 | 2.239
BG00158(ST) | Ground water | 35.3 | 7.351 | Result is below the lowest calibration standard | 3.216 | 0.054 | 0.745 | 1.118
BG00158(CL) | Ground water | 35.2 | 7.6 | Result is below the lowest calibration standard | 3.321 | 0.158 | 0.668 | 0.978
BG00157(ST) | Ground water | 33.4 | 7.695 | 0.776 | 3.401 | n.d | 0.622 | 0.928
BG00157(CL) | Ground water | 33.8 | 7.872 | 0.811 | 3.485 | 0.088 | 0.726 | 0.881
BG00156(ST) | Ground water | 29.3 | 6.783 | 1.148 | 2.95 | n.d. | 0.643 | 0.813
Interflow 1 (IN 1) | Interflow | 31.8 | 7.35 | 1.166 | 3.16 | n.d. | 0.689 | 0.799
Interflow 2 (IN 2) | Interflow | 30.4 | 7.361 | 1.164 | 3.183 | n.d. | 0.73 | 0.812
Interflow 3 (IN 3) | Interflow | 30.9 | 7.304 | 0.943 | 3.194 | n.d. | 0.696 | 0.892
Limit of quantification (LOQ) in mg/L |  |  | 0.75 | 0.75 | 0.75 | 0.05 | 0.375 | 0.75
*Notes
Cells in which the results are indicated as 'Result is below the lowest calibration' means that the quantity of the ion is below the LOQ eg
BG00158(ST) | Ground water | 35.3 | 7.351 | Result is below the lowest calibration standard | 3.216 | 0.054 | 0.745 | 1.118
BG00158(ST) | Ground water | 35.3 | 7.351 | <0.75 | 3.216 | 0.054 | 0.745 | 1.118
Cells with 'n.d' mean:
Not detected
This analysis was performed at the BIOGRIP water and soil node

## CBE
|  |  | 35.4 | 48 | 23 | 39 | 12 | 20 | 61
Sample identity | Sample type | EC (µS/cm) | Cl (mg/L) | SO4 (mg/L) | Na (mg/L) | K (mg/L) | Mg (mg/L) | Ca (mg/L) | Bicarbonate (mg HCO3-/L) | Cl (meq/L) | SO4 (meq/L) | Na (meq/L) | K (meq/L) | Mg (mg/L) | Ca (meq/L) | Bicarbonate (meq/L) | Tot anions | Total cations | CBE < 15%
Raingauge | Rain water | 57.24 | 3.301 | 0.998 | 1.524 | 0.07 | 0.805 | 2.241 | 7.32 | 0.093249 | 0.020792 | 0.066261 | 0.0017949 | 0.067083 | 0.11205 | 0.12 | 0.23404 | 0.24719 | 2.7323
Top Weir (TW) | Surface water | 22.5 | 5.238 | 0.81 | 2.262 | 0.04 | 0.56 | 2.409 | 2.44 | 0.14797 | 0.016875 | 0.098348 | 0.0010256 | 0.046667 | 0.12045 | 0.04 | 0.20484 | 0.26649 | 13.0798
BG00043 | Ground water | 73.3 | 14.759 | 1.058 | 7.251 | 0.187 | 0.922 | 2.239 | 6.1 | 0.41692 | 0.022042 | 0.31526 | 0.0047949 | 0.076833 | 0.11195 | 0.1 | 0.53896 | 0.50884 | -2.8749
BG00158(ST) | Ground water | 35.3 | 7.351 | 0.74 | 3.216 | 0.054 | 0.745 | 1.118 | 2.44 | 0.20766 | 0.015417 | 0.13983 | 0.0013846 | 0.062083 | 0.0559 | 0.04 | 0.26307 | 0.25919 | -0.74253
BG00158(CL) | Ground water | 35.2 | 7.6 | 0.74 | 3.321 | 0.158 | 0.668 | 0.978 | 2.44 | 0.21469 | 0.015417 | 0.14439 | 0.0040513 | 0.055667 | 0.0489 | 0.04 | 0.27011 | 0.25301 | -3.2682
BG00157(ST) | Ground water | 33.4 | 7.695 | 0.776 | 3.401 | 0.04 | 0.622 | 0.928 | 2.44 | 0.21737 | 0.016167 | 0.14787 | 0.0010256 | 0.051833 | 0.0464 | 0.04 | 0.27354 | 0.24713 | -5.0725
BG00157(CL) | Ground water | 33.8 | 7.872 | 0.811 | 3.485 | 0.088 | 0.726 | 0.881 | 1.22 | 0.22237 | 0.016896 | 0.15152 | 0.0022564 | 0.0605 | 0.04405 | 0.02 | 0.25927 | 0.25833 | -0.18172
BG00156(ST) | Ground water | 29.3 | 6.783 | 1.148 | 2.95 | 0.04 | 0.643 | 0.813 | 2.44 | 0.19161 | 0.023917 | 0.12826 | 0.0010256 | 0.053583 | 0.04065 | 0.04 | 0.25553 | 0.22352 | -6.6814
Interflow 1 (IN 1) | Interflow | 31.8 | 7.35 | 1.166 | 3.16 | 0.04 | 0.689 | 0.799 | 1.22 | 0.20763 | 0.024292 | 0.13739 | 0.0010256 | 0.057417 | 0.03995 | 0.02 | 0.25192 | 0.23578 | -3.3084
Interflow 2 (IN 2) | Interflow | 30.4 | 7.361 | 1.164 | 3.183 | 0.04 | 0.73 | 0.812 | 2.44 | 0.20794 | 0.02425 | 0.13839 | 0.0010256 | 0.060833 | 0.0406 | 0.04 | 0.27219 | 0.24085 | -6.1082
Interflow 3 (IN 3) | Interflow | 30.9 | 7.304 | 0.943 | 3.194 | 0.04 | 0.696 | 0.892 | 1.22 | 0.20633 | 0.019646 | 0.13887 | 0.0010256 | 0.058 | 0.0446 | 0.02 | 0.24597 | 0.2425 | -0.71208
Sample identity | Sample type | Cl (meq/L) | SO4 (meq/L) | Na (meq/L) | K (meq/L) | Mg (mg/L) | Ca (meq/L) | Bicarbonate (meq/L) | Tot anions | Total cations | CBE < 15%
Raingauge | Rain water | 0.093249 | 0.020792 | 0.066261 | 0.0017949 | 0.067083 | 0.11205 | 0.12 | 0.23404 | 0.24719 | 2.7323
Top Weir (TW) | Surface water | 0.14797 | 0.016875 | 0.098348 | 0.0010256 | 0.046667 | 0.12045 | 0.04 | 0.20484 | 0.26649 | 13.0798
BG00043 | Ground water | 0.41692 | 0.022042 | 0.31526 | 0.0047949 | 0.076833 | 0.11195 | 0.1 | 0.53896 | 0.50884 | -2.8749
BG00158(ST) | Ground water | 0.20766 | 0.015417 | 0.13983 | 0.0013846 | 0.062083 | 0.0559 | 0.04 | 0.26307 | 0.25919 | -0.74253
BG00158(CL) | Ground water | 0.21469 | 0.015417 | 0.14439 | 0.0040513 | 0.055667 | 0.0489 | 0.04 | 0.27011 | 0.25301 | -3.2682
BG00157(ST) | Ground water | 0.21737 | 0.016167 | 0.14787 | 0.0010256 | 0.051833 | 0.0464 | 0.04 | 0.27354 | 0.24713 | -5.0725
BG00157(CL) | Ground water | 0.22237 | 0.016896 | 0.15152 | 0.0022564 | 0.0605 | 0.04405 | 0.02 | 0.25927 | 0.25833 | -0.18172
BG00156(ST) | Ground water | 0.19161 | 0.023917 | 0.12826 | 0.0010256 | 0.053583 | 0.04065 | 0.04 | 0.25553 | 0.22352 | -6.6814
Interflow 1 (IN 1) | Interflow | 0.20763 | 0.024292 | 0.13739 | 0.0010256 | 0.057417 | 0.03995 | 0.02 | 0.25192 | 0.23578 | -3.3084
Interflow 2 (IN 2) | Interflow | 0.20794 | 0.02425 | 0.13839 | 0.0010256 | 0.060833 | 0.0406 | 0.04 | 0.27219 | 0.24085 | -6.1082
Interflow 3 (IN 3) | Interflow | 0.20633 | 0.019646 | 0.13887 | 0.0010256 | 0.058 | 0.0446 | 0.02 | 0.24597 | 0.2425 | -0.71208
Sample identity | Sample type | Cl (meq/L) | SO4 (meq/L) | Na (meq/L) | K (meq/L) | Mg (mg/L) | Ca (meq/L) | Bicarbonate (meq/L) | Tot anions | Total cations | CBE < 15%
Raingauge | Rain water | 0.093249 | 0.020792 | 0.066261 | 0.0017949 | 0.067083 | 0.11205 | 0.12 | 0.23404 | 0.24719 | 2.7323
Top Weir (TW) | Surface water | 0.14797 | 0.016875 | 0.098348 | 0.0010256 | 0.046667 | 0.12045 | 0.04 | 0.20484 | 0.26649 | 13.0798
BG00043 | Ground water | 0.41692 | 0.022042 | 0.31526 | 0.0047949 | 0.076833 | 0.11195 | 0.1 | 0.53896 | 0.50884 | -2.8749
BG00158(ST) | Ground water | 0.20766 | 0.015417 | 0.13983 | 0.0013846 | 0.062083 | 0.0559 | 0.04 | 0.26307 | 0.25919 | -0.74253
BG00158(CL) | Ground water | 0.21469 | 0.015417 | 0.14439 | 0.0040513 | 0.055667 | 0.0489 | 0.04 | 0.27011 | 0.25301 | -3.2682
BG00157(ST) | Ground water | 0.21737 | 0.016167 | 0.14787 | 0.0010256 | 0.051833 | 0.0464 | 0.04 | 0.27354 | 0.24713 | -5.0725
BG00157(CL) | Ground water | 0.22237 | 0.016896 | 0.15152 | 0.0022564 | 0.0605 | 0.04405 | 0.02 | 0.25927 | 0.25833 | -0.18172
BG00156(ST) | Ground water | 0.19161 | 0.023917 | 0.12826 | 0.0010256 | 0.053583 | 0.04065 | 0.04 | 0.25553 | 0.22352 | -6.6814
Interflow 1 (IN 1) | Interflow | 0.20763 | 0.024292 | 0.13739 | 0.0010256 | 0.057417 | 0.03995 | 0.02 | 0.25192 | 0.23578 | -3.3084
Interflow 2 (IN 2) | Interflow | 0.20794 | 0.02425 | 0.13839 | 0.0010256 | 0.060833 | 0.0406 | 0.04 | 0.27219 | 0.24085 | -6.1082
Interflow 3 (IN 3) | Interflow | 0.20633 | 0.019646 | 0.13887 | 0.0010256 | 0.058 | 0.0446 | 0.02 | 0.24597 | 0.2425 | -0.71208

## HCO3 results
Sample ID | Sample Type | pH at 21°C (titrator) | Conductivity (EC) µS/cm | Bicarbonate (mg CaCO3/L) | Bicarbonate (mg HCO3-/L)
BG00043 | Groundwater | 5.32 | 73.3 | 5 | 6.1
BG00158 (ST) | Groundwater | 4.7 | 35.3 | 2 | 2.44
BG00158 (CL) | Groundwater | 4.67 | 35.2 | 2 | 2.44
BG00157 (ST) | Groundwater | 4.9 | 33.4 | 2 | 2.44
BG00157 (CL) | Groundwater | 4.72 | 33.8 | 1 | 1.22
BG00156 (ST) | Groundwater | 4.99 | 29.3 | 2 | 2.44
Interflow 1 (IN 1) | Interflow | 4.9 | 31.8 | 1 | 1.22
Interflow 2 (IN 2) | Interflow | 4.93 | 30.4 | 2 | 2.44
Interflow 3 (IN 3) | Interflow | 4.94 | 30.9 | 1 | 1.22
Raingauge | Rain water | 6 | 57.24 | 6 | 7.32
Top Weir (TW) | Surface water | 5.23 | 22.5 | 2 | 2.44
Bicarbonate is measured on a Metrohm 888 Titrando using 0.02 M HNO3.
The bicarbonate results are expressed as mg CaCO3/L and converted to mg HCO3-/L through a calculation
This analysis was performed at the BIOGRIP water and soil node